|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Task Control Summary –  *Oldbury Energy to Waste* | | | | |
| Number: 001 | | Version: 1 | | Date: |
| Scope of works | Installation of Lighting Busbar ( High Level ) EMR Building Oldbury | | | |
| Name of Supervisor | Ian Moss ( Agile Building Services ) | | Date: | |
| Reviewed by (VINCI  Manager) | K Bird | | Date: | |
| The following health, safety and environmental controls must be followed at all times during these works:   * Ensure that all correct means of working at height is used, this means MEWPs. All operators must be IPAF trained to operate MEWPs, an exclusion zone must be put around MEWP * Check for sharp edges and the correct protective gloves must be worn * Ensure work area is clear of rubbish * Check that the emergency route is clear and accessible * Make sure all areas are cleaned and waste removed before leaving * Ensure adequate lighting, if not use separate task lighting * Wear Emcor standard PPE plus glasses and gloves * No lone working is permitted * Battery tool are preferred but if 110v are required they must be PAT tested     This task control summary **must not be more than 1 page** be briefed to all those working on this package of works by the supervisor nominated at the top of this form, who is also responsible for day to day compliance with its contents, and with all relevant HSE Controls identified in the Project Plan. It can contain instructions, photographs, sketches or anything needed to communicate the safe system of work for this task | | | | |

|  |  |  |  |
| --- | --- | --- | --- |
| Briefing Record | | | |
| Number: | Version: | | Date: |
| Name | | Signature | |
|  | |  | |
|  | |  | |
|  | |  | |
|  | |  | |
|  | |  | |
|  | |  | |
|  | |  | |
|  | |  | |
|  | |  | |
|  | |  | |
|  | |  | |
|  | |  | |
|  | |  | |
|  | |  | |
|  | |  | |
|  | |  | |
|  | |  | |
|  | |  | |
|  | |  | |
|  | |  | |
|  | |  | |
|  | |  | |
|  | |  | |
|  | |  | |